## Slide 1: MESSAGE QUEUE TELEMETRY TRANSPORT MQTT- Protocol UNIT-IV

## Slide 2
MQTT- Protocol
  Message Queue Telemetry (Sensor + Actuator Data) Transport Protocol
  Developed and released by IBM
  It provides publish-and-subscribe messaging
  It was specifically designed for resource-constrained devices and low bandwidth and high latency networks such as dial-up lines and satellite links
  It offers three qualities of service
  (1) fire-and-forget or unreliable
  (2) at least once to ensure it is sent a minimum of one time
  (but might be sent more than one time) and
  (3) exactly once.
  its main purpose is telemetry or remote monitoring means “to collect data from many devices and transport that data “ to the IT infrastructure.
  Eg. Facebook is using MQTT in its mobile app

## Slide 3
MQTT- Protocol (Conti..)
  Asynchronous communication model
  Publish / Subscribe (PubSub) Model
  Decoupling of data producer(publisher) and data consumer(subscriber) through topics (Message queues)
  Low complexity, low power and low footprint implementations